|  | Class C Operator Training Checklist Underground Storage Tank Program Doc Type: Regulated Party Response |
| --- | --- |

Instructions:  You can help Class C Operators at your facility fulfill their training requirements in many ways. Below is a guideline that can be used; there is also a list of training providers on the Minnesota Pollution Control Agency (MCPA) Web page at www.pca.state.mn.us/index.php?option=com_k2&view=item&id=2284&Itemid. Please note the MPCA does not approve training providers for Class C Operators. Class C Operators must be trained prior to assuming responsibility for the tank system. At least one Class C Operator (or higher class) must be present onsite while the tank system is operating. If your facility is a service station and allows customer fueling via pay at the pump only (meaning the convenience store is closed, no employees present) you are required to post a sign with the name and address of the facility and the telephone number of the facility owner, operator, or local emergency response. Training records must be immediately available.

## Facility Information

| Emergency phone number: |  |  |
| --- | --- | --- |
| Class A Operator name: |  |  |
| Class A Operator name: |  |  |

Check each area of training related to the Operator’s specific duties upon completion:

- Fuel Pump Emergency Shut-offs: Location(s) and Usage

- Leak Detection Console: Warnings, Alarms, and Response

- Other Warnings and Alarms

- Responding to Spills: Who to Call

- Responding to Spills: Absorbents - Location, Use, and Disposal

## Certification

| Class C Operator |  |  |  |  | Class A/B Operator |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- | --- |
| By my signature below, I certify that I have received training in the listed topic areas. |  |  |  |  | By my signature below, I certify that I have trained the employee named above in the listed topic areas. |  |  |  |
| Print name: |  |  |  |  | Print name: |  |  |  |
| Signature: |  |  |  |  | Signature: |  |  |  |
| Date: |  |  |  |  | Date: |  |  |  |

## For Further Assistance

To request state assistance or to report a petroleum or hazardous materials spill, contact:

Minnesota Duty Officer

Note:  All petroleum spills greater than five gallons and hazardous material spills are required to be reported.

651-649-5451 or 800-422-0798